## Sheet1 (2)
New Product Information
©ENTRI SERIES HE1U
DuraComm ©ENTRI SERIES HE1U-12012-BMS-MU
Category: | Power Systems / Rack Mount Power Supplies / 12 / 24 / 48 VDC
Product Name: | HE1U-MU Series
Description: | DuraComm is refreshing and expanding our HE1U-MU offering. The ©entri Series HE1U power supplies now fully integrate our Site ©entri remote monitoring and control unit adding internal relay protections for a more reliable system. The units feature a new front panel display that allows for on-site adjustment and monitoring along with a new look. Internally, all models now have relay protections on all inputs and outputs with programmable auto-reset, SNMP monitoring, and email notifications. Additionally, the BMS and BBLVD models incorporate a low voltage disconnect to prevent battery over discharging and load, power supply, and battery diode isolation. Separate connectors on the rear of the unit for load and batteries are provided for easy installation. Features • 12, 24, and 48 volt models • High efficiency: up to 93% • High power density: up to 1600 watts • Low profile: 1 RU • User programmable relay protections: short circuit / overload / over voltage / overheat • User programmable disconnects, reconnects, and resets • Built in active power factor correction • Heavy duty ¼” output studs with IP rated coverings • Optional active current sharing between multiple units • Alarm notifications by SNMP and email through Ethernet (Optional Form C dry contact output terminals) • Power supply fail notification with automatic and remote reset • AC fail notification with automatic and remote reset • Over temperature notification with automatic and remote reset • Battery low and low voltage disconnect notification with automatic and remote reset • Remote Monitoring o Output voltage and current o Battery voltage, if present o Power rectifier Voltage, additional N+1 redundant power rectifier voltage, if present o AC mains voltage o System Temperature • Remote Internal Relay Control o AC Mains input connect/disconnect o Power rectifier on/off and N+1 redundant power rectifier on/off, if present o Battery backup connect/disconnect if present • Internally hosted webpage, plug-and-play, no additional software required • SNMP v1, v2, and v3 integration and monitoring over IP • Internal data storage via SD card and downloadable .CSV file • BB model features diode isolated battery inputs • BBLVD model features diode isolated battery inputs with a low voltage disconnect relay • BMS model features an internal 3 stage 120 watt smart charger, diode isolated battery inputs, and a low voltage disconnect relay • 3 year warranty
Specifications (See Individual Product Owners Guide for full Specifications)
Model Number | HE1U-12012-MU |  | HE1U-5012-MU | HE1U-2512-MU | HE1U-6024-MU | HE1U-2524-MU | HE1U-1224-MU | HE1U-3048-MU | HE1U-1248-MU | HE1U-548-MU | HE1U-12012-BB-MU | HE1U-5012-BB-MU | HE1U-2512-BB-MU | HE1U-6024-BB-MU | HE1U-2524-BB-MU | HE1U-1224-BB-MU | HE1U-3048-BB-MU | HE1U-1248-BB-MU | HE1U-548-BB-MU | HE1U-12012-BBLVD-MU | HE1U-5012-BBLVD-MU | HE1U-2512-BBLVD-MU | HE1U-6024-BBLVD-MU | HE1U-2524-BBLVD-MU | HE1U-1224-BBLVD-MU | HE1U-3048-BBLVD-MU | HE1U-1248-BBLVD-MU | HE1U-548-BBLVD-MU | HE1U-12012-BMS-MU | HE1U-5012-BMS-MU | HE1U-2512-BMS-MU | HE1U-6024-BMS-MU | HE1U-2524-BMS-MU | HE1U-1224-BMS-MU | HE1U-3048-BMS-MU | HE1U-1248-BMS-MU | HE1U-548-BMS-MU
Output Power | 1600 watts |  | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts | 1600 watts | 750 watts | 300 watts
Output Voltage | 13.8 VDC |  | 13.8 VDC | 13.8 VDC | 27.6VDC | 27.6VDC | 27.6VDC | 56 VDC | 56 VDC | 56 VDC | 13.8 VDC | 13.8 VDC | 13.8 VDC | 27.6VDC | 27.6VDC | 27.6VDC | 56 VDC | 56 VDC | 56 VDC | 13.8 VDC | 13.8 VDC | 13.8 VDC | 27.6VDC | 27.6VDC | 27.6VDC | 56 VDC | 56 VDC | 56 VDC | 13.8 VDC | 13.8 VDC | 13.8 VDC | 27.6VDC | 27.6VDC | 27.6VDC | 56 VDC | 56 VDC | 56 VDC
Input Voltage | 90 ~ 264 VAC |  | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 90 ~ 264 VAC | 110 or 220 VAC | 110 or 220 VAC | 110 or 220 VAC | 110 or 220 VAC | 110 or 220 VAC | 110 or 220 VAC | 110 or 220 VAC | 110 or 220 VAC | 110 or 220 VAC
Max Current | 125A |  | 62.5A | 27A | 60A | 31A | 14A | 33.5A | 14A | 7A | 125A | 62.5A | 27A | 60A | 31A | 14A | 33.5A | 14A | 7A | 125A | 62.5A | 27A | 60A | 31A | 14A | 33.5A | 14A | 7A | 125A | 62.5A | 27A | 60A | 31A | 14A | 33.5A | 14A | 7A
Typ. Efficiency | 89% |  | 89% | 88% | 92% | 90.5% | 87% | 93% | 92% | 89% | 89% | 89% | 88% | 92% | 90.5% | 87% | 93% | 92% | 89% | 89% | 89% | 88% | 92% | 90.5% | 87% | 93% | 92% | 89% | 89% | 89% | 88% | 92% | 90.5% | 87% | 93% | 92% | 89%
Output Adj. Range | 11.5 ~ 15 VDC |  | 13.5 ~ 16.5 VDC | 13.5 ~ 18 VDC | 26.5 ~ 33.5 VDC | 23.5 ~ 30 VDC | 21.6 ~ 28.8 VDC | 47.5 ~ 58.8 VDC | 43 ~ 55 VDC | 47.5 ~ 58.8 VDC | 11.5 ~ 15 VDC | 13.5 ~ 16.5 VDC | 13.5 ~ 18 VDC | 26.5 ~ 33.5 VDC | 23.5 ~ 30 VDC | 21.6 ~ 28.8 VDC | 47.5 ~ 58.8 VDC | 43 ~ 55 VDC | 47.5 ~ 58.8 VDC | 11.5 ~ 15 VDC | 13.5 ~ 16.5 VDC | 13.5 ~ 18 VDC | 26.5 ~ 33.5 VDC | 23.5 ~ 30 VDC | 21.6 ~ 28.8 VDC | 47.5 ~ 58.8 VDC | 43 ~ 55 VDC | 47.5 ~ 58.8 VDC | 11.5 ~ 15 VDC | 13.5 ~ 16.5 VDC | 13.5 ~ 18 VDC | 26.5 ~ 33.5 VDC | 23.5 ~ 30 VDC | 21.6 ~ 28.8 VDC | 47.5 ~ 58.8 VDC | 43 ~ 55 VDC | 47.5 ~ 58.8 VDC
Battery Input Terminals | No | [9 empty] | Yes | [8 empty] | Yes | [8 empty] | Yes
Low Voltage Disconnect | No | [9 empty] | No | [8 empty] | Yes | [8 empty] | Yes
Battery Charging | No | [9 empty] | No | [8 empty] | No | [8 empty] | Yes
Battery Capacity | N/A | [9 empty] | N/A | [8 empty] | N/A | [8 empty] | 60 ~ 120 Ah | 30 ~ 60 Ah | 15 ~ 30 Ah | 60 ~ 120 Ah | 30 ~ 60 Ah | 15 ~ 30 Ah | 60 ~ 120 Ah | 30 ~ 60 Ah | 15 ~ 30 Ah
Operating Temp Range | -30 to +70C / -22 to +158F
Shipping Dimensions | 23” H x 17” W x 3” D
Shipping Weight | 9 lbs
Warranty | 3 Years Repair or Replace
Product Pricing Information
ITEM | LIST PRICE
HE1U-548-MU | 1092
HE1U-548-BBLVD-MU | 1120
HE1U-548-BMS-MU | 1338
HE1U-1024-MU | 1092
HE1U-1024-BBLVD-MU | 1120
HE1U-1024-BMS-MU | 1338
HE1U-1248-MU | 1169
HE1U-1248-BBLVD-MU | 1289.5
HE1U-1248-BMS-MU | 1372.5
HE1U-2012-MU | 1092
HE1U-2012-BBLVD-MU | 1120
HE1U-2012-BMS-MU | 1338
HE1U-2524-MU | 1169
HE1U-2524-BBLVD-MU | 1289.5
HE1U-2524-BMS-MU | 1372.5
HE1U-3048-MU | 1604.5
HE1U-3048-BBLVD-MU | 1656
HE1U-3048-BMS-MU | 1769.5
HE1U-5012-MU | 1169
HE1U-5012-BBLVD-MU | 1289.5
HE1U-5012-BMS-MU | 1372.5
HE1U-6024-MU | 1604.5
HE1U-6024-BBLVD-MU | 1656
HE1U-6024-BMS-MU | 1769.5
HE1U-12012-MU | 1604.5
HE1U-12012-BBLVD-MU | 1656
HE1U-12012-BMS-MU | 1769.5